## WasteOilSpareParts
| PART | PRICE | DESCRIPTION
> | 1087 | #REF! | WASHERS 5/16 SAE FLAT
| 1333 | 5 | LOCKWASHER 5/16 IN.
> | 1360 | 487 | BLOWER-LAU #A-12-12AC-EXT-P
| 3501 | N/A | REPLACED BY PN 125564
| 4074 | 46 | #1VL34 - 1/2IN. BORE SHEAVE
| 6185 | N/A | NO LONGER AVAILABLE
| 6187 | N/A | NO LONGER AVAILABLE
> | 6554 | 5 | NUT HEX 5/16 18 KEPS
| 7328 | 5 | NUT HEX 1/4 20 KEPS
| 7962 | 54 | 1VL40X5/8IN. BORE SHEAVE
| 9774 | N/A | REPLACED BY PN 125566
> | 10437 | 112 | BEARING-SEALMASTER#SRC-16-1 IN
| 10653 | 5 | HX SLT PL BOLT 1/4-20 X 3
| 10960 | N/A | NO LONGER AVAILABLE
| 11834 | 5 | ORIFICE PLUG #54-BRASS
> | 12489 | 21 | ROD BOLT
| 12576 | 39 | SPT MTG MTG PL LT RBH CAB
| 12577 | 37 | SPT MTG MTG PL RT RBH CAB
| 12585 | 48 | BRKT ASSY; MTR ADJ
| 13450 | N/A | REPLACED BY PN 115861
| 13580 | 46 | 1VL34 5/8IN BORE SHEAVE
| 14205 | 102 | MTR MTG PLATE B/BE250/300
> | 14474 | 120 | BRNG RSCMA-1-3/16 INA BEARING
| 16099 | 5 | .248-.25 X 1-1/4 IN. BLR KEYS
| 16130 | 68 | BROWNING BELT #A53
| 16158 | 216 | SHV BLR 1AK134 X 1-3/16
| 16246 | 5 | CAP SCREW 1/4 IN. 20 X 3/4 IN.
| 16248 | 5 | SCREW CAP 5/16 X 1-1/2
| 16452 | 5 | HOLE PLUG HEYC0 DP-875 2703 BL
| 16588 | 5 | ORIFICE PLUG #65-BRASS
| 16835 | 5 | BSHG SR7W-2 #1247 BLACK
| 16864 | N/A | REPLACED BY PN 144972
| 17320 | 5 | CVR BOX AM ELECT 52C1
| 17627 | 25 | HANGER CONNECTOR ASSEMBLY
| 17782 | 5 | OUTLET BOX T&B 58361-1/2
| 17800 | 5 | OUTLET BOX COVER 58C1 AM ELECT
| 20913 | 5 | PLASTIC STRAP TY-RAP TY B24M
| 21830 | 5 | RL TERM BLOK MTG
| 29871 | 5 | BSHG SB-500-6 #2053 BLACK
| 31273 | N/A | REPLACED BY PN 159184
| 32368 | 12 | OUH INSPECTION PLATE GASKET
| 32369 | 5 | GASKET, CLEANOUT COVER
| 32370 | 21 | CLEAN OUT COVER OUH
| 32374 | 5 | LVR HRZ OUH95,140,185
| 32375 | 52 | FRONT PANEL OUH
| 32396 | 35 | INSPECTION PLATE OUH
| 32475 | 181 | FAN PANEL ASSEMBLY OUH95
| 32477 | 193 | FAN PANEL ASSEMBLY OUH185
| 32478 | 266 | SD PNL ASSY RT OUH 95
| 32481 | 261 | SD PNL ASSY LT OUH 95
| 32488 | 315 | SD PNL ASSY RT OUH 185
| 32491 | 313 | SD PNL ASSY LT OUH 185
| 32493 | 207 | CABINET TOP ASSEMBLY OUH95
| 32497 | 237 | CABINET TOP ASSEMBLY OUH185
| 32499 | 239 | CABINET BOTTOM ASSEMBLY OUH95
| 32504 | 255 | CABINET BOTTOM ASSEMBLY OUH185
| 32528 | 181 | LVR ASSY HRZ OUH 95
| 32530 | 210 | LVR ASSY HRZ OUH 185
| 37865 | 136 | DB1 DRFT REG 7"
| 37866 | 143 | DB1 DRFT REG 8"
| 37919 | 35 | PAINT 120Z SPRAY CAN
| 38636 | 5 | FUSETRON 1/4X1-1/4 MDL-8 AMPS
| 39563 | 338 | BLOWER PANEL ASSY.
| 39570 | 342 | BLOWER PANEL ASSY.
| 39577 | 218 | BLOWER MTG. PLATE ASSY OUB95
| 39658 | 5 | ORIFICE PLUG #56-BRASS
| 40275 | 225 | DE1 O/A COMBUSTION AIR KIT OIL
| 41598 | 241 | DRIVE MOTOR 2-456 BECKETT
| 41599 | 29 | BLOWER WHEEL 2-459 BECKETT
| 41600 | 10 | COUPLING 2-454 BECKETT
| 42801 | N/A | REPLACED BY PN 193796
| 42809 | 133 | BLOWER GUARD
| 42810 | 141 | BLOWER GUARD
| 43211 | N/A | REPLACED BY PN 141598
| 43487 | N/A | REPLACED BY PN 110177
| 44411 | 95 | BRKT ASSY MTR ADJ
> | 45534 | 10 | LIMIT CONTROL 60T-21-120D
> | 45537 | 10 | LIMIT CONTROL #60T-21-210D
> | 45538 | 10 | LIMIT CONTROL 60T-21-230D
> | 45602 | 10 | LIMIT CONTROL #36T21 L180 XL
| 46568 | 70 | INSPECTION PLATE ASSEMBLY
| 46615 | 5 | VIEW PORT BRACKET
| 50457 | N/A | REPLACED BY PN 19108
| 50459 | N/A | REPLACED BY PN 202653
| 50519 | N/A | REPLACED BY PN 16153
| 51221 | 5 | MOTOR BAND-TRIANGLE #TR5868
| 52961 | 5 | CLAMP 1/4 CABLE #3324 WHITE
| 60241 | 19 | FUSEHOLDER #342828L-SCA,SCB-1-
| 63003 | 5 | ORIFICE PLUG 1.20 MM-BRASS
| 63557 | 5 | PIN WELD PG1612 W/ZINC FINISH
| 63558 | 5 | SPRING C0240-024-06205 SS CMPR
| 63559 | 5 | #PD156307 PALNUT
| 64940 | 23 | HARDWARE BAGS LAU #020464-01
| 65403 | 62 | #A48 V-BELT
| 66632 | 5 | PORT GASKET OIL UNITS
| 66635 | 5 | VIEWPORT GASKET
| 82433 | 5 | BLACK HOLE PLUG #2653 DP-562
| 87022 | 5 | HEX BSHNG 1/4X1/8 FORGED STEEL
| 88560 | 71 | V BELT A61 RDF
| 90335 | 5 | FUSETRON MDL 5AG 5 AMP
> | 90511 | 5 | VARGLAS SLVG #1 X 6
| 91919 | N/A | REPLACED BY PN 255350
| 93917 | 69 | CONTACTOR ENCLOSURE ASSY
| 94347 | 857 | MTR 1-1/2 HP #311P402
| 94851 | 54 | LOUVER FRAME ASSY F25,50
| 94857 | 58 | LOUVER FRAME ASSY F100
| 94863 | 91 | LOUVER FRAME ASSY F165
| 94867 | 97 | LOUVER FRAME ASSY F250,300
| 94898 | 5 | FAN/LIMIT ACCESS PANEL F25-400
| 95485 | 5 | STRT ELBOW #3400 X 2-1/8 BRASS
| 95645 | 218 | FLAME CONES WASTE OIL UNITS
| 95937 | 5 | VERTICAL LOUVER F25-100
| 96316 | 322 | OIL PUMP SUNTEC A2RA-7736
| 96318 | N/A | REPLACED BY PN 101900
| 96319 | 529 | CNTL SYS 80A1-1662-1000
| 96320 | 60 | AIR PROVING SWT MODEL 3036 P/E
| 96321 | 98 | AIR REG R07-100-NNAA NORGREN
| 96322 | 353 | AIR VLV V52DB1022 120V
| 96334 | 241 | CARTRIDGE HTR WATLOW J8A64
| 96338 | 193 | THERMOCOUPLE 71XJSGA036A
| 96339 | N/A | NO LONGER AVAIL
| 96340 | N/A | NO LONGER AVAIL
| 96342 | 5 | FOAM RBR INSUL #R180FS
> | 96383 | 71 | FAN LAU #F10 H8.7 22-36
| 96388 | 142 | OIL FILTER ASSY CP750-100M POS4
| 96449 | 5 | BUSHING #SR20-1 (1424) BLACK
| 96809 | 5 | BRANCH TEE
| 96810 | 5 | STREET TEE EPY #2225 P-2
| 96836 | 25 | VALVE MOUNTING BRACKET
| 96943 | 19 | STEEL TB 1/4 X 7-1/2
| 96951 | 21 | ELECTRODE MTR BRKT
| 97033 | N/A | REPLACED BY PN 137576
| 98041 | 277 | MOTOR 1/5 HP #5A55GYKDT-5457
| 98326 | 218 | FLAME CONE END 0.8 118RA(D)-A
| 98332 | 75 | DELAVAN NOZZLE 30609-5 RA118
| 98394 | 5 | OPEN/CLOSE BSHG #2869 BLACK
| 98511 | 45 | CK10 SWIVELS 7 PT 3/8 F/B/OIL
| 98872 | 5 | SPACER SPIROL SP100
| 98958 | 151 | OIL PRES REG R44-121-NNAA
| 98964 | 125 | ELECTRICAL BOX RA,D230-A
| 98965 | 63 | ELECT BOX COVER RA,D230-A
| 99301 | 29 | BLOWER WHEEL BECKETT #2999
| 99302 | 66 | AIR TUBE/FLANGE 5128201BK
| 99303 | 29 | WIRE HARNESS ASSY PKG
| 99304 | N/A | NO LONGER AVAIL
| 99818 | 297 | 1/6 HP 115/1/60 GRAY 7-165771
| 99819 | 295 | MOTOR #322P972
| 100085 | 24 | LINER RETAINING ANGLE RA230
| 100393 | 5 | BUSHING SR-6N3-4 BLACK #1200
| 100518 | 1097 | FAN/MTR ASSY RA(D)118-A
| 100519 | 1184 | FAN/MTR ASSY RA(D)230-A/H
| 100623 | 102 | TIME DELAY RELAY FBS515S ES188
| 100657 | 380 | BLOWER A12-9AC
| 100658 | 469 | BLOWER A15-11AC
| 100889 | 27 | BLOWER ANGLE B/BE130-165
| 100890 | 35 | BLOWER ANGLE B/BE200-400
| 100981 | 933 | BLOWER ASSY B/BE130-165
> | 101332 | 167 | TRANX/ELEECTRODE/CONNECTOR ASY
| 101459 | N/A | REPLACED BY PN 170188
| 101479 | N/A | REPLACED BY PN 193795
| 101798 | 5 | PLASTIC DART PC47307EVZ
| 101881 | 79 | JUNCTION BOX RA118,230
| 101882 | 23 | JCT BOX COVER RA118,230
| 101900 | 25 | SWITCH 7563K6-DPDT 15 AMPS
> | 101916 | 334 | OIL PRIMARY HTR ASY 105;210
| 101932 | N/A | REPLACED BY PN 123195
| 101994 | N/A | REPLACED BY PN 100657
| 101995 | N/A | REPLACED BY PN 100658
| 102031 | 1315 | HEATSINK ASSY 118
| 102032 | 1651 | HEATSINK ASSY 230
| 102066 | 2605 | HEAT EXCHANGER ASSY 118RA,D
| 102067 | 2957 | HEAT EXCHANGER ASSY 230RA,D
| 102084 | 330 | INSPECTION PLATE ASSY 118,230
| 102085 | 290 | INSPECTION PLATE 118,230RA,D
> | 102294 | 14 | LGE O RING FOR CANNISTER #236
| 102295 | 98 | MESH FILTER #5062-100
| 102343 | 75 | NO SHOK GAGE 15.110.15 PSI
> | 102380 | 264 | MTR 1/8 HP 322P986 TE F/FE
> | 102385 | 33 | RELAY 5 PRONG 134-20203-301
| 102475 | 70 | INLET GUARD RI-12989AA 130-400
| 102533 | 17 | MTR MTG BRKT LAU #006902-01
| 102534 | 21 | MTR MTG BRKT LAU 024677-02
| 102545 | 274 | LINER RIGHT SIDE 118RA,D
| 102546 | 272 | LINER LEFT SIDE 118RA,D
| 102548 | 323 | LINER RIGHT SDIE 230RA,D
| 102549 | 321 | LINER LEFT SIDE 230RA,D
| 102638 | N/A | NO LONGER AVAILABLE
| 102639 | N/A | NO LONGER AVAILABLE
| 102710 | 21 | INSPECTION PLATE GASKET
> | 102997 | 49 | BNR NZL 56975-1 #9-7 .029 DIST
| 103013 | 297 | LINER FOOT ASSY RA118
| 103014 | 385 | LINER FOOT ASSY RA230
| 103182 | 5 | CAP. BOOT SYNTEX #M-78
| 103253 | 322 | CAB BOTTOM ASSEMBLY RA230A
> | 103319 | 43 | RBM RELAY 134-50202-101
| 103338 | 5 | WHITE WIRE ASSY RA230
| 103412 | N/A | REPLACED BY PN 135080
| 103418 | 154 | MINI AIR FILTER #F07-100AIMA
> | 103420 | 5 | GASKET #3416 AIR TUBE
| 103662 | 5 | LONG NUT EPY #00403
| 104726 | 667 | FAN/MOTOR ASSY RA110
| 104728 | N/A | REPLACED BY PN 126019
| 104729 | 48 | EXHAUST BOX CVR RA(D)105;210
| 104736 | 44 | HTEX SUPPORT RA(D)105;210
| 104738 | 120 | INNER TOP/BOTTOM RA(D)110
| 104739 | 172 | INNER TOP/BOTTOM RA(D)105;210
| 104741 | 199 | TOP/BOTTOM RA(D)105
| 104742 | 236 | TOP/BOTTOM RA(D)210
| 104743 | 68 | CORNER POST RA(D)105;210
| 104744 | 272 | FAN PANEL RA105
| 104745 | 320 | FAN PANEL RA210
| 104747 | 81 | TOP/BOTTOM FRONT RA(D)105
| 104748 | 98 | TOP/BOTTOM FRONT RA(D)210
| 104751 | 27 | DOOR LIFT RA(D)
| 104753 | 17 | DOOR STOP RA(D)105;210
| 104754 | 118 | EXH ACCESS DOOR ASSY RA110-235
| 104757 | 234 | SERVICE TRAY RA(D)105;210
| 104758 | 46 | LOUVER BRACKET RA(D)140
| 104759 | 14 | LOUVER BRACKET
| 104761 | 58 | VIEWPORT TUBE ASSY RA110-235
| 104762 | N/A | REPLACED BY PN 203235
| 104765 | N/A | REPLACED BY PN 120289
| 104766 | 51 | NOZZLE ADAPTER
| 104768 | 125 | VIEWPORT BRKT ASSY RA110-235
| 104774 | 148 | FLAME CONE ASSY RA(D)110;235
| 104776 | 105 | BOX ASSY RA(D)110;235
| 104778 | 30 | PLATFORM RA(D) 140/235
| 104779 | 27 | CNTL BX PARTITION RA(D) 140/235
| 104780 | 41 | CNTL BOX COVER RA(D)105;210
| 104781 | 18 | FIXED COVER RA(D)105;210
| 104783 | 51 | FUEL LINE BRKT ASY RA(D)110;23
| 104784 | 55 | OIL HEATER BOX
| 104787 | 24 | FRONT SUPPORT RA(D105;210
| 104788 | 44 | HEATER COVER RA110-235
| 104789 | 42 | END COVER RA(D)105;210
| 104795 | 70 | FILLER RAD105
| 104796 | 73 | TOP FILLER RAD210
| 104797 | 68 | BOTTOM FILLER RAD210
| 104800 | N/A | REPLACED BY 174713
| 104801 | N/A | REPLACED BY PN 174714
| 104802 | N/A | REPLACED BY PN 119636
| 104813 | 37 | FUEL LINE BRACKE RA(D)110;325
| 104814 | 46 | CORNER DEFLECTOR RA(D)105;210
| 104816 | 70 | AIR DEFLECTOR RA(D)105;210
| 104817 | 24 | OUTER DOOR DEFLECTOR RAD
| 104818 | 75 | FAN GUARD
| 104819 | 5 | MOTOR MTG PLATE RA(D)105;210
| 104820 | 124 | EXH COLLAR PLATE ASSY RA110
| 104821 | 125 | EXH COLLAR PLATE ASSY RA235
| 104823 | 220 | FAN GUARD MOUNT ASSY RA110-235
| 104835 | 5 | FUEL CONNECTION NUT RA(D)
| 104836 | 42 | LOUVER FRAME ASSY RA235
| 104837 | N/A | REPLACED BY PN 123973
| 104838 | 5 | HOLE PLUG SS48192 ZINC PLT
| 104839 | N/A | REPLACED BY PN 124066
> | 104840 | 27 | SWITCH 125V 7630K40 CH 20 AMP
| 104841 | 58 | PRESSURE SWITCH FS3440
> | 104842 | 63 | PRESSURE SWITCH FS3440-894
| 104845 | N/A | REPLACED BY PN 269820 (L&R KIT)
| 104846 | N/A | REPLACED BY PN 269820 (L&R KIT)
| 104847 | 5 | ELECTRODE CLAMP #1-49 BECKETT
| 105318 | N/A | REPLACED BY PN 210761
| 105319 | N/A | REPLACED BY PN 210762
| 105320 | N/A | REPLACED BY PN 210763
| 105482 | 87 | SHV AK56 1
| 105490 | 55 | BELT A36
| 106176 | 66 | STATIC PLATE ASSY RA110-235
| 106186 | 10 | COPPER/BRASS PIPE 1/8 NPT X 6
| 106396 | 5 | PARKER #125HBL-4-2 1/8 NPT MLE
| 106843 | N/A | REPLACED BY PN 210765
| 106844 | N/A | REPLACED BY PN 210764
> | 106845 | 10 | EMERGENCY LIMIT 20034
| 106846 | N/A | REPLACED BY PN 106847
> | 106847 | 12 | LIMIT CONTROL 202859
> | 106945 | 210 | GEAR MOTOR RF3732
| 106946 | N/A | REPLACED BY PN 211057
> | 106947 | 127 | VALVE #532B-2MP-50
> | 106952 | 50 | HEATER SC25-1.5 30W 120V
> | 106953 | 104 | HEATER SC75-6 300W 120V
| 107025 | 627 | BURNER HOUSING ASSY RZ-11-01
| 107026 | 12 | STATIC PLATE ASSY 5654
| 107027 | 29 | COMBUSTION AIR WHEEL 2999
| 107028 | 5 | LOW FIRE BAFFLE 5880
> | 107029 | 108 | VALVE ASCO #U8225B4V
> | 107032 | 222 | OIL PUMP SUNTEC #A2RA-7710
| 107116 | 763 | FUEL LINE ASSY RA110
| 107117 | 607 | FUEL LINE ASSY RA235
> | 107118 | 15 | RUBBER TUBING 5/26X1/16X20
| 107119 | 5 | SEMS #6-32 X 1/4 ROUND HD ZINC
> | 107121 | 5 | FOAM INSUL 4-3/4
| 107122 | 5 | BRASS PIPE 1/8 NPT X 2-1/2
| 107123 | 1541 | REMOTE PUMP ASSY RA110
| 107124 | 1523 | REMOTE PUMP ASSY RA235
> | 107164 | 89 | FLEXIBLE HOSE
| 107166 | 149 | CORNER POST ASSY RA(D)110;235
| 107167 | 174 | BLOWER POST ASSY RAD110
| 107168 | 176 | BLOWER POST ASSY RAD235
| 107170 | N/A | REPLACED BY PN 115155
| 107171 | 1123 | BLOWER ASSEMBLY RAD235
| 107207 | 164 | PUMP ENCLOSURE RA(D)110;235
| 107208 | 19 | DIVIDER RA(D)110;235
| 107209 | N/A | REPLACED BY PN 113440
| 107210 | 130 | PUMP COVER RA(D)110;235
> | 107213 | 5 | BUSS BAR #27196B CROWN ENG
| 107214 | 5 | #10-32 HOLLOW THREAD STUD CRWN
> | 107216 | 39 | AIR FILTER WIX #42374
| 107217 | 15 | REAR DISC RA(D)110;235
| 107218 | 23 | FRONT DISC RA(D)110;235
| 107223 | 5 | STREET ELBOW 1/4 90 DEG
| 107246 | 9 | WING NUT 1/4-20 ZINC PLTD
> | 107310 | 53 | NOZZLE DELEVAN 107310 .75 GPH
| 107341 | 31 | TEE
| 107371 | 10 | PLUG
> | 110177 | 85 | DD1 SOL VALVE ASCO U8325B7V
| 110233 | 153 | SCNDRY STRAINER ASSY RA110-235
> | 110235 | 5 | SPRING C0390-043-810M
> | 110236 | 5 | CYLINDER 7/16 X 7/8 SCREEN
> | 110237 | 5 | VITON O RING SIZE AS568-113
| 110240 | 5 | LOCKWASHER 91113A037 7/8 IN
| 110287 | 5 | PIPE PLUG BRASS 1/8
> | 110290 | 16 | COPPER TUBING ASSY
> | 110291 | 5 | ELBOW 90D 249IFHD-3-2 BRASS
| 110296 | 80 | WIRE & CABLE ASSY RA110-235
| 110314 | 5 | PARKER A1202P-2-2 90D ST EL
> | 110320 | 40 | 1/2 NPT FOOT VL VALSTOP #60020
| 110565 | 35 | RAKE RA110;235
| 110628 | 5 | AIR FILTER NUT
| 110664 | 297 | CARTON RA110
| 110665 | 311 | CARTON RA235
| 110666 | 778 | CARTON ASSY RA/D 140/235
| 110774 | 5 | WHITE WIRE ASSY
| 110775 | 5 | ORANGE WIRE ASSY
| 110777 | 5 | BLACK WIRE ASSY
| 110779 | 5 | RED WIRE ASSY
| 110780 | 47 | DH1 DRAFT BOOSTER RLY-OIL FLD
| 110942 | 5 | SCREW 1/4-20 X 3/8 SOCKET HD
| 110984 | 5 | SCREW 1/4-20 X 7/8 HEX EXT
| 111066 | 5 | YELLOW WIRE ASSY
| 111271 | N/A | REPLACED BY PN 121351
| 111560 | 1282 | MTR 3 HP B735 208230V 1 PH
| 111854 | N/A | NO LONGER AVAILABLE
> | 111859 | 5 | HOLE PLUG #21270
> | 112042 | 70 | FLEXIBLE CONNECTOR 5/16 5802
| 112106 | N/A | NO LONGER AVAILABLE
| 112222 | 129 | BURNER PANEL/INSUL ASSY
| 112223 | 14 | EXHAUST BOX BODY GASKET KIT
| 112224 | 14 | ACCESS DOOR GASKET KIT
| 112225 | 42 | SPRAY ADHESIVE TRIM STOCK 20OZ
> | 112707 | 245 | GEAR MOTOR 115V 235 RPM X7699A
| 113154 | 266 | DJ1 HIGH ALTITUDE KIT RA(D)235
| 113155 | 363 | DJ2 HIGH ALTITUDE KIT RA(D)235
| 113440 | 41 | MOTOR BRACKET RA(D)110,235
| 113498 | 5 | INSOLATOR LORD #J-3-112-8-11
| 113503 | 37 | MOTOR BRACKET RA(D)110,235
| 113795 | 9 | BLEEDER ADAPTER SUNTEC #131405
| 113796 | 5 | BLEEDER VALVE SUNTEC #3759803
| 114010 | 93 | BELT B50
| 114028 | 203 | BLR PULLEY AK134H
| 115121 | N/A | REPLACED BY PN 203235
| 115143 | 5 | BRASS HEX NUTS 5/16-18
| 115144 | 122 | EXH COLLAR PL ASSY 140;235-C
| 115150 | 56 | EXHAUST BOX COVER 140;235-C
| 115151 | 5 | GASKET 1-1/2 X 1/8 X 11
| 115153 | 145 | EXH ACCESS DOOR ASSY 140;235-C
| 115154 | N/A | REPLACED BY PN 170188
| 115155 | 257 | OUTER DOOR ASSY 140;235-C
| 115171 | 16 | INTAKE CNCT DUCT TOP/BTM 140-C
| 115172 | 22 | INTAKE CNCT DUCT TOP/BTM 235-C
| 115173 | 28 | INTAKE DUCT CNCTG SIDES 140-C
| 115174 | 27 | INTAKE CONNECTION DUCT SIDES
| 115860 | 643 | 3/4 HP F353 115/208/230-1-60 E
| 115861 | 480 | 1/3 HP 906 115/1/60 TE
| 115866 | N/A | REPLACED BY PN 137044
> | 116159 | 249 | GEAR MOTOR 3904FR43800
| 116394 | N/A | REPLACED BY PN 19108
| 116400 | N/A | REPLACED BY PN 19111
| 116401 | N/A | REPLACED BY PN 202653
| 116402 | N/A | REPLACED BY PN 16153
| 116457 | 36 | VIEW PORT TUBE MTG PL ASSY
| 119206 | 877 | FAN/MOTOR ASSY RA235-C
| 119367 | 106 | EXHAUST COLLAR PLATE ASSY
| 119370 | 1514 | REMOTE PUMP ASSY RA(D)235 AB11
| 119371 | 1691 | REMOTE PUMP ASSY RA(D)235 AB12
| 119376 | N/A | REPLACED BY PN 202829
> | 119636 | 721 | AIR COMP SOA-V115-NA GAST
| 119859 | 62 | VERT LVR TOP/BTM MEMBER
| 119860 | 73 | VERT LVR TOP/BTM MEMBER
> | 119983 | 97 | SNAP-IN HOUR METER 711-0109
> | 120057 | 46 | GASKET 102 X 1-1/2 X 1/8
| 120058 | 16 | GASKET 72 X 1-1/2 X 1/8
| 120287 | 39 | INLET HEATER
| 120288 | 19 | FUEL CONNECT ASSY RA(D)105/210
| 120289 | 54 | FUEL CONNECTION ASSY REPL KIT
| 120302 | 45 | CONTACTOR ENCLOSURE COVER ASSY
> | 120680 | 10 | LIMIT CONTROL #60TX12-145F
| 120864 | 28 | FUEL INLET CONNECTION
| 121182 | 141 | AIR FILTER ASSY RA(D) W/AV2
| 121200 | 5 | MALE CONNECTOR 48F-6-2
| 121202 | 5 | CAPLUG CD-6A
> | 121275 | 12 | BLOCK VENT SWITCH 275D 36T X46
| 121338 | 5 | SCREW #10-32 X 3/8 W/EXT TOOTH
| 121341 | 5 | BLOCKED VENT SWITCH GASKET
| 121350 | 1818 | BURNER HSG S/B RA(D)235
| 121351 | 41 | FILTER GAST #AH190 REPLACEMENT
| 121353 | 752 | CONTROL BOX ASSEMBLY RA235
> | 121355 | 5 | FUSE BUSS MDA10
| 121359 | 5 | AIR BLEED ORIFICE #68 DRILL
| 121718 | 33 | AIR COMPRESSOR MOUNTING HOLE T
| 121726 | 5 | AIR DAMPENING ORIFICE .028
| 121740 | 5 | BOLT 5/16-18X1-1/4 HEX HEAD TP
| 121745 | 5 | BOLT RETNR 5/16 TRW PT #312010
| 121858 | 89 | CD1 VRTL LURS OH/B95 RA/D140
| 121859 | 108 | CD1 VRTCL LVRS OH/B140/190 235
| 121867 | 853 | PISTON TYPE RETRO KIT
| 121868 | 106 | INSTALL HARDWARE BAG ASSY UL
| 121869 | 1643 | AIR COMPRESSOR ASSEMBLY
| 121871 | 1713 | PISTON TYPE RETROFIT CSA VER
| 121872 | 120 | INSTALL HARDWARE BAG ASSY CSA
| 122114 | 5 | GROUND WIRE ASSY
| 122358 | N/A | REPLACED BY PN 210764
| 122359 | N/A | REPLACED BY PN 210765
| 122876 | 207 | REPAIR KIT SOA PISTON A/C K401
| 123194 | 417 | IGN CONTROLLER R8184 G 4074
> | 123195 | 58 | CAD CELL C554A-1794 FLM DETECT
| 123230 | N/A | REPLACED BY PN 170188
> | 123399 | 5 | NOZZLE O-RING #31351-3
> | 123450 | 10 | OIL PUMP STRAINER #3715747
> | 123451 | 5 | SUNTEC GASKET #3779801
| 123458 | 1025 | CSA REPL IGN CNTLR KIT 140/235
> | 123460 | 21 | GREEN INDICATOR LIGHT 1052QC5
| 123918 | 4292 | REPL BURNER KIT W/BNR MOTOR
| 123919 | 2531 | REPL BURNER KIT W/O BRN MOTOR
| 123953 | N/A | REPLACED BY PN 123974
> | 123973 | 129 | FAN CNTL ASSY OH140,190 RA(D)
> | 123974 | 68 | FAN CNTL ASSY F/FE25,200-400
| 124038 | N/A | REPLACED BY PN 210764
| 124039 | N/A | REPLACED BY PN 210765
| 124062 | 5 | GASKET 23-15/16 OH(B), RA(D)
> | 124063 | 5 | GASKET 4-15/16 OH(B), RA(D)
| 124064 | 5 | GASKET 29-1/4 OH(B), RA(D)
| 124065 | 5 | GASKET 16-9/16 OH(B), RA(D)
> | 124066 | 5 | GASKET 3-5/8 OH(B), RA(D)
> | 124067 | 5 | DOOR LATCH KIT #61-99-274-14
| 124269 | 1643 | REMOTE PUMP ASSY RA(D)140 AB11
| 124981 | 693 | BRNR HSG ASSY RZ1401 BECKETT
| 125121 | N/A | REPLACED BY PN 132911
| 125124 | 239 | ACCESS DOOR SPOTWELD SUB ASSY
| 125203 | 220 | ACCESS DOOR SPOTWELD S/A 6 HOL
| 125564 | 56 | FAN BLADE #F07H0 17-1/2 29 D
> | 125566 | 56 | FAN BLADE F07H07 15-3/4 31 D
| 125821 | 10 | INSULATION CLIP
| 126005 | 12 | INSULATION CLIP ASSY 6 HOLE
| 126013 | 348 | ACCESS DOOR ASSY 6 HOLE
| 126014 | 367 | ACCESS DOOR ASSY 10 HOLE DOOR
| 126015 | N/A | REPLACED BY PN 203235
| 126016 | N/A | REPLACED BY PN 203236
| 126017 | N/A | REPLACED BY PN 203235
| 126018 | N/A | REPLACED BY PN 203236
| 126019 | 407 | ACCESS DOOR LINER REPL KIT 6 H
| 126021 | 294 | ACCESS DOOR LINER REP KIT 10 H
| 126022 | 25 | HARDWARE BAG ASSY 10 HOLE DOOR
| 126288 | N/A | REPLACED BY PN 130390
| 126592 | 15 | PARKER CROSS #2205P-2
| 126593 | 5 | PARKER HEX NPL REDUCR 216P-4-2
| 126595 | N/A | REPLACED BY PN 135080
> | 129381 | 291 | GEAR MOTOR 3732UP-350 M-K RA
> | 129382 | 49 | NOZZLE #5697503
| 129384 | 174 | PRIMARY OIL HTR ELEMENT SC75-6
| 130347 | N/A | REPLACED BY PN 137576
> | 130390 | 73 | CAPACITOR 10 MFD 250V
| 130600 | 610 | BOTTOM ASSEMBLY RA350
| 130602 | 309 | TOP/BOTTOM CASING RA350
| 130603 | 22 | DOOR STOP RA350
| 130604 | 321 | HTEX & HEAT SHIELD ASSY RA
| 130605 | N/A | REPLACED BY PN 203237
| 130606 | N/A | REPLACED BY PN 203327
| 130609 | 176 | BOTTOM HEAT SHIELD RA350
| 130618 | 39 | GASKET 1/8 X 1-1/2 X 80
| 130619 | N/A | REPLACED BY PN 209433 AND 209434
> | 130621 | 56 | GASKET 1/8 X 1-1/2 X 124
| 130622 | 73 | CORNER POST RA350
| 130623 | 116 | FRONT/BACK CASING PANEL RA350
| 130624 | 236 | BURNER CASING ASSY RA350
| 130627 | 178 | SERVICE TRAY RA350
| 130628 | 234 | EXHAUST CASING ASSY RA350
| 130631 | 100 | UPPER FRONT CASING PNL INS ASY
| 130634 | 37 | CENTER LOUVER SUPPORT
| 130635 | 340 | FAN PANEL RA350
| 130636 | 130 | FAN GD MNT COMPL ASSY - RA350
| 130638 | 214 | TOP HEAT SHIELD
| 130639 | 98 | INSUL 1 X 32 X 56
| 130640 | 169 | LG OUTER ACCESS PANEL ASSY RA
| 130647 | 1370 | BURNER HOUSING SUB-ASSY RA350
| 130648 | 603 | FUEL LINE ASSY RA350
| 130651 | 1592 | REMOTE PUMP ASSY RA350
| 130658 | 796 | CARTON/LOOSE PARTS RA(D) 350/500
| 130671 | 54 | LIMIT/FAN CNTL & BRKT ASSY RA
> | 130673 | 12 | TUBING - 20 IN
| 130674 | 168 | LIMIT AND BRACKET ASSY RA
| 130679 | 70 | SUPPORT ANGLE ASSY RAD350
| 130681 | 456 | BLOWER BACK PANEL ASSY RA
| 130684 | N/A | REPLACED BY PN 193798
| 130685 | 330 | BELT GUARD ASSY RAD500
| 130689 | 58 | INLET DUCT FLANGE
| 130697 | 127 | BLOWER SHAFT 1 X 43
| 130952 | 44 | OIL PUMP INLET MANIFOLD
| 131136 | 100 | BOTTOM TURNING BOX DOOR
| 131137 | 218 | TOP TURNING BOX DOOR
| 131139 | 280 | TOP TURNING BOX DOOR ASSY RA
| 131142 | 340 | SHAFT GUARD ASSY RA350
| 131143 | 124 | SHAFT GUARD SCREEN RA350
| 131144 | 58 | SHAFT GUARD BAND RA350
| 131263 | 14 | GASKET 1/8 X 1-1/2 X 27 RA350
| 131273 | 196 | MOD FLAME CONE ASSY RA350
| 131276 | N/A | REPLACED BY PN 14469
| 131277 | 129 | BEARING BRKT/PAINT ASSY RA350
| 131460 | 261 | FUEL OIL PUMP SUNTEC #A2VA7116
| 131595 | 5 | FIELD ALT. LABEL 3000-7000 FT
| 131597 | 5 | REMOTE PUMP LABEL 3000-7000 FT
| 131600 | 10 | FAN BLADE #3 RHF .250S
| 131632 | 31 | GEAR MOTOR BRACKET RA(D) 350
| 131640 | 763 | GEAR MTR ASSY HI-ALT RA(D)350
| 131792 | 91 | OIL PUMP INLET MFLD ASSY RA/D
| 131808 | 374 | DJ1 HIGH ALTITUDE OPT KIT RA(D)350
| 131990 | 91 | BOLT-ON BRACE, RA
> | 132224 | 12 | O RING #AS568A-333
| 132349 | 5 | ORIFICE #70 BRASS B-10208
| 132352 | 19 | INSULATION 1/2X31X45-7/8
| 132911 | N/A | REPLACED BY PN 210930
| 134473 | 10 | HANGER CONNECTOR (MOD) RA/OH
| 134476 | 37 | HANGER CONNECTOR ASSY CK10
| 134477 | 113 | CK10 OPTION PACKAGE
| 134569 | 58 | CLEANING BRUSH MC-C 7232T21
> | 135080 | 56 | VACUUM GAUGE NOSHOK #GV-10
| 135789 | N/A | NO LONGER AVAILABLE
> | 136864 | 62 | SUCTION STRAINER #2-1/2N 30
> | 137044 | 370 | MTR 1/4 HP 115 H34L018-7
> | 137576 | 5 | ELCTR/TRNX ASSY CONN CROWN
| 138336 | 103 | PARTS POST PURGE ADDER RA/RAD
| 140866 | 170 | SERVICE TRAY RA/D140-235
| 140867 | 191 | SERVICE TRAY RA/D350
| 140868 | 5 | 1/4-20 X 1 IN LG SLOTTED HEX CAP SCR
| 140871 | 124 | CORNER POST ASSY
> | 141598 | 60 | FAN BLADE #610275-01 17.540 40
| 141675 | N/A | REPLACED BY PN 215773
| 141747 | 5 | DOM PLUG HEYCO #2633
| 144429 | 47 | HOUR METER BOX RA/D
| 144432 | 79 | VERT LVR TOP L/BTM R RA/D350
| 144433 | 37 | VERT LVR TOP R/BTM L RA/D350
| 144434 | 19 | VIEWPORT BRACKET RA/RAD
| 144435 | 14 | CABLE BRACKET RA/RAD
| 144439 | 168 | VIEWPORT COVER ASSY RA/D
| 144701 | 58 | BACKFLOW SENSOR CABLE ASSY RA
| 144702 | N/A | NO LONGER AVAILABLE
| 144706 | N/A | NO LONGER AVAILABLE
| 144724 | N/A | NO LONGER AVAILABLE
| 144963 | 114 | CD1 VERT LVRS RA/D350
| 144972 | 17 | TERMINAL KT3
| 146269 | 5 | GRAPHITE PASTE 5 OZ
> | 146465 | 10 | FAN CTL 60T12 #313907
| 147096 | 9 | AIR GUIDE 31231
> | 147149 | 168 | CC1 8" VENT CAP ASSY RA/RAD/RV/LDAP
| 147346 | 19 | LIGHT RED INDIC #1050QC1
| 147352 | 272 | BACKFLOW SENSOR ASSY RA/D
| 147355 | 5 | VIEWPORT GASKET 3-5/8 X 3
| 147902 | 16 | LIMIT/FAN CTRL BRACKET RA(D)
| 148253 | 4588 | REPL BURNER KIT RA/D350 W/MTR
| 148986 | 5 | TUBING SIL RUBBER 6IN
> | 149173 | 5 | BEARING ASSY RA/D MERK-KORFF
| 149876 | 15 | BACKFLOW SENSOR BRKT RA/D350
| 149877 | 270 | BACKFLOW SENSOR ASSY RA/D350
| 151151 | 345 | CONTACTOR CL01A31T-J GE
| 151157 | 198 | CONTACTOR CL02A310T-S
> | 151194 | 136 | OVERLOAD RTA1-P
| 151207 | 105 | MOTOR STARTER ENCL B/BE
| 151793 | 41 | CROSSBRACE 3X23-7/8X3/8 HRS
| 151798 | 238 | SML TURNING BOX DOOR RA(D)500
| 151799 | 251 | LGE TURNING BOX DOOR RA(D)500
| 151802 | 201 | EXHAUST BX REMOV PANEL RA500
| 151804 | 94 | BOLT-ON BRACE RA(D)500
| 151805 | 277 | TURNING BOX RA(D)500
| 151818 | 235 | RIGHT BOTTOM PANEL RA(D) 500
| 151819 | 234 | LEFT BOTTOM PANEL RA(D) 500
| 151959 | 278 | LEFT TOP PANEL RA(D)500
| 151960 | 282 | RIGHT TOP PANEL RA(D)500
| 151964 | 5 | DOOR STOP
| 151965 | 63 | TOP AIR DEFLECTOR RA(D)500
| 151966 | 64 | BTM AIR DEFLECTOR RA(D)500
| 151967 | 33 | CENTER POST RA(D) 500
| 151971 | 261 | TOP LINER CENTER RA(D)500
| 151972 | 70 | TOP LINER CONTROL RA(D)500
| 151973 | 99 | TOP LINER PLAIN RA(D) 500
| 151975 | 93 | TOP/BTM FAN PNL RA(D)500
| 151976 | 67 | TOP/BTM PANEL DISCH RA(D)500
| 151977 | 91 | TOP SUPPORT RA(D)500
| 151979 | 156 | SERVICE TRAY
| 151980 | 118 | CHAMBER PANEL RA(D)500
| 151982 | 93 | FAN GUARD BOX (HALF)
| 151983 | 340 | BOTTOM LINER RA(D) 500
| 151990 | 467 | BTM PANEL ASSY RA(D)500
| 155065 | 16 | DOOR HANDLE P2-41 DV
| 155262 | 58 | RIGHT FRONT CORNER POST ASSY
| 156895 | 54 | FAN GUARD RA500
| 157040 | 968 | BRNR HOUSING ASSY - RA(D)500
> | 157041 | 51 | OIL NOZZLE #56975-004
| 157042 | 268 | MTR 3/4 HP F48J51A13 230V 1150
| 157043 | N/A | REPLACED BY PN 258223
| 157044 | 444 | GEAR MOTOR #3683 230V
| 157046 | 122 | VLV U8225B4V 230V 2 WAY SOL
| 157048 | 183 | OIL HEATER SC75-6 770W/230V
> | 157049 | 89 | NOZZLE HTR SC25-15 30W/230V
| 157054 | N/A | REPLACED BY PN 208973
> | 157056 | 78 | PYROBOARD 27-3/4X19-1/4 X .438 LINER
> | 157057 | 10 | FAN CNTL 60T12 313906 OPEN 155
| 157058 | 85 | FAN BLADE 610508A-2434 .50 CW1
| 157059 | 5 | FEMALE HINGE RH NHPS80630RF
| 157060 | 12 | MALE RH HINGE Z17502 RM
| 157100 | N/A | NO LONGER AVAIL
| 157101 | N/A | NO LONGER AVAIL
| 157106 | 13 | LIMIT/FAN CONT BRACKET RA500
> | 157107 | 53 | MTR MOUNT RC-52997AA PLTD
| 157111 | 167 | HEAT EXCH SUPT ASSY RA(D)500
| 157112 | 492 | COMB CHAMB DOOR ASSY RA(D)500
| 157113 | 303 | COMB CHAM DOOR S/WELD RA(D)500
| 157114 | 204 | SML INNER TURNING BOX DOOR RA(D) 500
| 157115 | 214 | EXH BOX COVER ASSY RA(D) 500
| 157117 | 160 | LIMIT FAN CONTROL ASSY RA500
| 157119 | 87 | PLAIN CORNER POST RA(D)500
| 157120 | 238 | TURNING BOX PAN ASSY RA(D)500
| 157121 | 319 | FAN GUARD ASSY RA-500
| 157122 | 272 | LRG COMB CHMBR DOOR RA(D)500
| 157124 | 116 | EXHAUST BOX PANEL ASSY
| 157132 | 41 | CONTROL BOX RA(D) 500
| 157135 | 13 | VIEWPORT BRACKET
| 157136 | 19 | SINGLE LIMIT BRACKET RA500
| 157137 | 111 | MAIN ELEC CNTRL BOX RA(D)500
| 157138 | 93 | VIEWPORT DOOR ASSY RA(D)500
| 157139 | 87 | CENTER POST ASSY
| 157623 | 180 | DAMPER 10 IN M+MG2 BAROMETRIC
| 157687 | 118 | HOUR METER
| 157689 | 64 | TURNING BOX DOOR GASKET RA(D)500
| 157690 | 42 | GASKET 120" RA(D) 500
| 157691 | 180 | BURNER PANEL ASSY
| 157692 | 73 | FLUE PANEL ASSY RA(D)500
> | 157808 | 39 | POST PURGE BURNER RELAY
| 157845 | 316 | FAN PANEL ASSY RA500
| 157849 | 2001 | BRNR HSG SUBASSY RA(D)500
| 157850 | 217 | FLAME CONE ASSY RA(D)500
| 157851 | 720 | FUEL LINE NZL ASSY RA(D)500
| 157852 | 122 | SECOND STRAINER ASSY RA(D)500
| 157854 | 1199 | AIR COMP SUBASSY RA(D)500
| 157855 | 1986 | REMOTE PUMP ASSY RA(D)500
| 157905 | N/A | REPLACED BY PN 174713
| 157907 | 46 | MTR BRACKET
| 157908 | 21 | ELE COMPRTMNT DIVIDER RA(D)500
| 157909 | 163 | PUMP ENCLOSURE RA(D)500
| 157910 | 5 | REMOTE PUMP LABEL
| 157952 | 148 | XFRMR H-DUTY 50VA 240/280 120
| 157955 | 124 | CNTCTR 25 AMP 125V COIL
| 157967 | 33 | PLATFORM RA(D) 500
| 157968 | 44 | ELEC BOX FIXED CVR RA(D)500
| 157969 | 31 | ELEC BOX HINGED CVR RA(D)500
| 158132 | 39 | QUICK DISC CABLE ASSEM
| 158133 | 120 | MOTOR WIRE & CABLE ASSY
| 158203 | 45 | MAIN CNTRL SWTCH DPST RA(D)500
| 158204 | 135 | RAD DISCNCT SWTCH
| 158205 | 41 | JCT BOX 52171-3/4 4X4X2-1/8
| 158206 | 5 | CVR SWT PLT 4 X 4 #RS-9
| 158207 | 17 | TUBING - 48 IN
| 158633 | 5 | RECEPTACLE ASSEM
| 158657 | 89 | QUICK DISC CABLE ASSY RA(D)500
| 158700 | 14 | RECEPTACLE ASSY RA(D)500
| 158779 | 176 | LIMIT/FAN BRKT ASSY RAD500
| 158784 | 34 | MTR END ENCL BOX RAD500
| 158785 | 27 | MTR END ENCL BASE RAD500
| 158807 | N/A | REPLACED BY PN 174714
| 159000 | 195 | CC1 10" VENT CAP RA500
| 159184 | 572 | MTR 1/2HP #C613
| 159844 | 9 | FUSE MDL 20A
| 162914 | 597 | RA(D)350 ACCESS DOOR REPL. KIT
| 162915 | 28 | HARDWARE BAG RA(D)350
| 163125 | 52 | AIR BLOWER WHEEL
| 163126 | N/A | REPLACED BY PN 220628
| 163127 | 270 | BRNR MTR 230V
| 163128 | N/A | REPLACED BY PN 120287
| 164325 | 5 | SUPPORT ARM TR8053B TRIANGLE
| 165180 | 26 | INLET RESTRICTOR CAUA 300
| 165182 | 40 | INLET RESTRCTR MOUNT CAUA150-4
> | 170188 | 274 | PRIMARY IGNITION CONTROL REPL KIT
| 170234 | 5 | RGM CPW43 IGN CNTRL RA(D)140,2
| 171529 | 5 | CAP CLAMP FELT 166A729H01
| 174680 | 36 | CAPACITOR GE OVAL 6X651 3MFD370
| 174682 | 58 | BACK PLATE LINER
| 174692 | 264 | RELAY AQUASTAT HW L8148A1124
| 174693 | N/A | REPLACED BY PN 217257
| 174700 | 140 | RAB 350/500 CHAMBER LINER
| 174702 | 67 | RAB 350/500 CHAMBER RIM LINER
| 174703 | 16 | BURNER TUBE INSULATOR RAB
| 174704 | 52 | SHELF AIR COMP RAB
| 174705 | 409 | DI-1 DRAFT INDUCER
| 174708 | 2684 | MAIN BURNER ASSY RAB500
| 174710 | 186 | BURNER JUNCT BOX ASSY RAB500
| 174713 | 37 | BURNER JUNCTION BOX RAB
| 174714 | 22 | BURNER JUNCT BOX COVER RAB
| 174716 | 1370 | CONTROL BOX ASSY RAB350
> | 174810 | 60 | TIME DELAY RELAY
| 174879 | 21 | TUBING SILICONE 30IN RAB
| 174880 | 23 | TUBING SILICONE 34IN RAB
| 174888 | 653 | FUEL LINE ASSY RAB140
| 174889 | 529 | FUEL LINE ASSY RAB350
| 174890 | 738 | FUEL LINE ASSY RAB500
| 175104 | 5896 | BOILER ASSY BUDERUS G215/4 140
| 175105 | 8058 | BOILER ASSY BUDERUS G215/6 235
| 175106 | 11637 | BOILER ASSY BUDERUS G315/5 350
| 175107 | 17024 | BOILER ASSY BUDERUS G315/7 500
| 175108 | 19 | TERMINAL STRIP RAB 140-350
| 175109 | 25 | TERMINAL STRIP RAB 500
| 175116 | 147 | REPL TOP COVER PANEL RAB140
| 175117 | 253 | REPL RT SD COVER PANEL RAB140
| 175118 | 253 | REPL LT SD COVER PANEL RAB140
| 175119 | 322 | REPL FRNT CVR PANEL RAB140/235
| 175121 | 335 | REPL RT SD COVER PANEL RAB235
| 175123 | 294 | REPL TOP COVER PANEL RAB350
| 175125 | 407 | LEFT SIDE PANEL
| 175126 | 343 | REPL FRNT CVR PANEL RAB350/500
| 175127 | 301 | REPL TOP COVER PANEL RAB500
| 175128 | 461 | REPL RT SD COVER PANEL RAB500
| 175129 | 454 | REPL LT SD COVER PANEL RAB500
| 175130 | 140 | PRESSURE/TEMP GAUGE
| 175132 | 265 | REPL RELIEF VALVE RAB SER
> | 175263 | 40 | CHECK VALVE VALSTOP H141 - 1/4
| 175635 | 52 | J-BOX TO CTL BOX WIRE/CBL ASSY
| 175636 | 48 | J-BOX TO CTL BOX WIRE/CBL ASSY
| 175637 | 37 | J-BOX TO CTL BOX WIRE/CBL ASSY
| 175993 | 736 | DRAFT INDUCER DI-3
| 175994 | 365 | REPL LINER KIT 140-235
| 175995 | 262 | REPL LINER KIT RAB350-500
| 176148 | 62 | RMF4-47170-101-1 FILL SEALER
| 176299 | 11 | LINER SUPT BAND
| 176300 | 226 | VENT PROVING SWITCH
> | 176535 | 71 | FILTER CARTRIDGE CP752-100M
| 179214 | 49 | OIL SWTCH GUARD RAB
| 179311 | 65 | FLAME ROLLOUT RETROFIT KIT 140
| 179312 | 77 | FLAME ROLLOUT RETROFIT KIT 500
| 179313 | 43 | PRE HEATER ASSY SUPPORT BAND RAB
| 179322 | 79 | DOOR INSUL INSERT G215 #5335896
| 179323 | 517 | DOOR INSUL G215 #5335898
| 179324 | 52 | BNR INSUL RING #5335894
| 179325 | 129 | DOOR INSUL INSERT G315 #5335830
| 179326 | 1124 | DOOR INSUL G315 #5335946
| 193795 | 366 | BELT GUARD
| 193796 | 353 | BELT GUARD
| 193797 | 370 | BELT GUARD
| 193798 | 405 | BELT GUARD RAD 350-500
| 194118 | 111 | MTR MTG PLT PNTD B/BE/SCB/OIL
| 194120 | N/A | NO LONGER AVAILABLE
| 194121 | N/A | REPLACED BY PN 12577
| 194122 | N/A | REPLACED BY PN 12576
| 194219 | 89 | GAUGE PRS/TEM RAB350/500 41043
| 194489 | 349 | T RR PAN RAB350 5614624 G316/5
| 194490 | 286 | T RR PAN RAB500 5614628 G315/7
| 194492 | 5 | RUBBER WASHER 1/4 ID 5/8 OD 3/16 THK
| 194565 | 23 | FAN/LIMIT ACCESS PANEL
| 194618 | N/A | REPLACED BY PN 194619
| 194619 | 175 | CLEANING BRUSH RAB 140/235/350/500
| 194923 | 69 | CORNER POST RA(D)350
| 194925 | 121 | TURNING BOX DOOR RA(D)350
| 194926 | 409 | LARGE OUTER ACCESS PNL ASSY
| 194927 | 317 | TURN BOX DOOR ASSY
> | 195046 | 5 | COMPRESSION SPRING UDAP
| 195310 | 72 | ACCESS DOOR AIR BFL RA(D)350
| 195638 | 5 | SMS #8-18 X 3/8 SLOT SERR
| 195840 | 42 | GASKET TURN BOX DOOR 136"
> | 196247 | 240 | FAN MOTOR 115V UDAP/S 300/350/400
| 196655 | 132 | BLOWER SHAFT 1-3/16" X 46-1/2"
| 196831 | 64 | CORNER POST EXTENSION
| 196878 | 3833 | REPL HEAT EXCHANGER
| 196884 | 339 | REPL DOOR ASSY RETROFIT RA350
| 196960 | 627 | RETROFIT KIT RA(D) 350
| 196963 | 123 | PARTS BAG ASSEMBLY
| 196964 | 66 | GASKET / SEALANT / LITERATURE
| 197299 | 99 | COLL BOX DOOR RV200
| 197311 | 164 | SERVICE TRAY RV200
| 197312 | 177 | SERVICE TRAY RV280
| 197315 | 34 | CORNER POST 2
| 197316 | 124 | HEAT SHIELD BTM RV225
| 201524 | 129 | BOTTOM RAIL
| 201810 | 280 | MOTOR 1 HP 3 SP F48S94A13
| 201816 | 124 | HEAT SHIELD TOP RV225
| 201822 | 17 | HANGER SUPPORT RV
| 201823 | 163 | BOTTOM PANEL
| 201825 | 5 | LOUVER FRAME TOP/BOTTOM
| 201829 | 11 | LOUVER FRAME SIDE
| 201830 | 5 | LOUVER RV SER
| 201833 | 108 | COLLECTION BOX LEFT SIDE ASSY
| 201837 | 1893 | HEAT EXCH WELD ASSY
| 201850 | 49 | REPL CORNER POST 2
| 201950 | 606 | GEAR MOTOR/CAPACITOR ASSY
| 201966 | 82 | COLLECTION BOX DOOR RV
| 201969 | 25 | LOUVER FRAME SIDE
| 201977 | 5 | BURNER DOOR GASKET SIDE RV SER
| 201978 | 5 | BURNER DOOR GASKET TOP/BTM RV
| 201981 | 63 | PYROLITE DOOR LINER
| 201982 | 82 | PYROLITE DOOR LINER
| 201987 | 5 | BURNER DOOR GASKET SIDE RV280
| 201988 | 5 | BURNER DOOR GASKET TOP/BTM 280
| 201989 | 22 | COL BOX DOOR GASKET SIDE RV200
| 201990 | 22 | COL BOX DOOR GASKET TOP/BTM
| 201991 | 22 | COL BOX DOOR GASKET SIDE RV280
| 201992 | 22 | COL BOX DOOR GASKET TOP/BTM
| 202057 | 520 | BURNER DOOR ASSY RV225
| 202058 | 639 | BURNER DOOR ASSY RV325
| 202059 | 216 | HEAT SHIELD BTM RV325
| 202060 | 224 | HEAT SHIELD TOP RV325
| 202063 | 203 | SIDE POST PANEL
| 202064 | 197 | BOTTOM PANEL
| 202065 | 311 | TOP PANEL
| 202067 | 50 | COVER PANEL
| 202068 | 5 | BURNER DOOR FRAME GASKET RV200
| 202069 | 5 | BURNER DOOR FRAME GASKET RV280
| 202082 | 108 | BURNER ELECTRICAL BOX
| 202083 | 143 | TOP PANEL (BURNER SIDE)
| 202084 | 235 | TOP PANEL
| 202086 | 145 | BOTTOM PANEL (BURNER SIDE)
| 202184 | 202 | TOP PANEL
| 202475 | 5 | VENTURION LOGO RV225
| 202476 | 5 | VENTURION LOGO RV325
| 202477 | 681 | BURNER HOUSING ASSY #1403 RV
| 202478 | 90 | DISCON CABLE CMC 5016-2.5MC-S
| 202479 | 60 | DISCON CABLE RCPT CNC 5016-1FR
| 202581 | 592 | MTR 2 HP 115/208-230 #327P922
> | 202584 | 10 | LIMIT TOD# 60T11-314466
> | 202585 | 10 | LIMIT TOD# 60T11-314467
| 202591 | 163 | DOOR MNTG FRAME COMP ASSY RV200
| 202592 | 175 | DOOR MNTG FRAME COMP ASSY RV200
| 202595 | 1466 | BURNER HOUSING SUB-ASSY
| 202598 | 718 | AIR COMPRESSOR SUB ASSY RV280
| 202599 | 1394 | REPL REMOTE PUMP ASSY
| 202601 | 102 | BOX ASSEMBLY RV225
| 202602 | 1162 | BLOWER & MOTOR ASSY RV225
| 202615 | 5 | 3/8 DIA 16 X 3/4 BRASS BOLT
| 202618 | 276 | CONTACTOR 42AF15AF 25A 2 POLE
| 202619 | 163 | COMB CHMBR ACCS DR ASSY RV200
| 202620 | 236 | COMB CHMBR ACCS DR ASSY RV280
| 202814 | 65 | BURNER ELECTRICAL BOX COVER
| 202817 | 10 | INLET CONNECTION BRACKET
| 202819 | 33 | BLOWER MOUNT
| 202821 | 477 | BLWR HOUSING MODIFIED RV200
| 202822 | 784 | BLOWER HOUSING (MODIFIED)
| 202828 | 295 | TUBE BRACKET ASSEMBLY
| 202829 | 740 | ST1 HEATER STAND RV225/325
| 202935 | N/A | REPLACED BY PN 211061
| 203196 | 342 | FLUE RESTRICTOR ASSY
| 203210 | 196 | COLL BOX DOOR ASSY RV225
| 203211 | 137 | COLLECTION BOX DOOR ASSY
| 203212 | 71 | REPL FLUE BAFFLE
| 203213 | 93 | REPL FLUE BAFFLE
| 203235 | 3537 | REPL HTEX ASSY RA/RAD140
| 203236 | 3613 | REPL HTEX ASSY RA/RAD235
| 203237 | 5956 | REPL HTEX ASSY RA/RAD350
| 203238 | 7378 | REPL HTEX ASSY RA/RAD500
| 203270 | 44 | TIME DELAY 12SV20-318779 120V
| 203322 | 239 | SIDE POST PANEL FRONT RV225
| 203562 | 130 | CD1 VERT LOUVERS RV225
| 203563 | 144 | CD1 VERT LOUVERS RV325
| 203582 | 5 | VRT LOUVER RV225
| 203583 | 5 | VERTICAL LOUVER RV325
| 203840 | 5 | BLOWER DEFLECTOR RV225
| 204002 | 48 | CAPACITOR CLAMP
| 204267 | 69 | 7.5 CAPACITOR GAST AJ330
| 205150 | 32 | CAPACITOR 15UF/440V POCF15
| 205409 | 15 | BRASS HINGE BLOCK
| 205424 | 12 | BLUE FAN IMPELLER
| 205425 | 120 | SIGHT GLASS FLANGE 6303-7570
> | 205426 | 14 | SIGHT GLASS GASKET 5752-520
| 205427 | 45 | SIGHT GLASS 5438-172
| 206119 | 151 | BLANK W/FAN OPENING (206120)
| 206120 | 99 | BLANK FAN PANEL RA140 (206119)
| 206121 | 151 | BLANK W/FAN OPENING (206122)
| 206122 | 126 | BLANK FAN PANEL RA235 (204121)
| 206123 | 330 | BLANK W/FAN OPENING (206124)
| 206124 | 131 | BLANK FAN PANEL RA350 (204123)
| 207396 | 95 | HONEYWELL STAT T822D-2717
| 207450 | 577 | FUEL LINE ASSY RV225
| 207506 | 33 | DOOR GASKET 19-27/32 X 19 RV225
| 207507 | 38 | DOOR GASKET 24-27/32 X 23-31/32
| 208072 | 88 | BURNER DISCONNECT CABLE 24" LG
| 208380 | 72 | MTR BASE ADJ MODEL 56
> | 208473 | 175 | MOTOR JE3G007R 115/1/60 .01HP
> | 208973 | 199 | IGNITION CONT #42230 02S
| 209122 | 98 | FAN BLADE UDAP/S 61206801
| 209134 | 35 | SHEAVE STK DR A6Z3-12DF03708
| 209135 | 33 | SHEAVE STK DR A6Z3-10DF03708
| 209136 | 33 | SHEAVE STK DR A6Z3-11DF03708
| 209137 | 34 | SHEAVE STK DR A6Z3-14DF03708
| 209138 | 38 | SHEAVE STK DR A6Z3-17DF03708
| 209139 | 41 | SHEAVE STK DR A6Z3-22DF03708
| 209140 | 39 | SHEAVE STK DR A6Z3-20DF03708
| 209141 | 46 | SHEAVE STK DR A6Z3-31DF03710
| 209142 | 36 | BORE REDUCER A7A30-312506
| 209143 | 85 | PULLEY STK DR A6Z3-78SF03710
| 209144 | 64 | PULLEY STK DR A6Z3-58SF03710
| 209145 | 67 | PULLEY STK DR A6Z3-60NF03710
| 209146 | 42 | DR BELT STK DR A6R3-090031
| 209147 | 40 | DR BELT STK DR A6R3-077031
| 209148 | 39 | DR BELT STK DR A6R3-079031
| 209149 | 39 | DR BELT STK DR A6R3-081031
| 209150 | 40 | DR BELT STK DR A6R3-085031
| 209162 | 59 | LIMIT BRACKET ASSEMBLY RAB SER
| 209189 | 834 | BURNER BECKETT SF 120V 60HZ
| 209190 | 186 | CARTRIDGE HEATER HOTWATT 120V
| 209195 | 25 | BELT DRIVE TOP DIVIDER
| 209196 | 9 | BELT DRIVE MOTOR BRKT
| 209198 | 93 | BELT DRIVE PUMP ENCLOSURE
| 209407 | 24 | REMOTE PUMP ACCESS COVER
| 209408 | 20 | REMOTE PUMP FIXED COVER
| 209433 | 56 | EXHAUST BOX COVER RA(D)350
| 209434 | 88 | EXHAUST COLLAR & PLATE ASSY
| 209566 | 1381 | BELT DRIVE REMOTE PUMP ASSY
| 209568 | 1203 | BELT DRIVE REMOTE PUMP ASSY
| 209569 | 1315 | BELT DRIVE REMOTE PUMP ASSY
| 209571 | 1305 | BELT DRIVE REMOTE PUMP ASSY
| 209572 | 1418 | BELT DRIVE REMOTE PUMP ASSY
| 209573 | 1355 | BELT DRIVE REMOTE PUMP ASSY
| 209574 | 1375 | BELT DR REMOTE PUMP ASY RAB500
| 209577 | 53 | BLOWER MOUNT ANGLE (LEFT)
| 209578 | 53 | BLOWER MOUNT ANGLE (RIGHT)
| 209582 | 1414 | BELT DRIVE REMOTE PUMP ASSY
| 209909 | 642 | CONTROL BOX ASSEMBLY RV225
| 209992 | 60 | FLUE RESTRICTOR MOUNT ANGLE KIT
| 210147 | 120 | MOTOR PLATE SUPPORT
| 210662 | 2733 | REPLACEMENT HTEX ASSY RV225
| 210663 | 3944 | REPLACEMENT HTEX ASSY RV325
> | 210761 | 17 | OIL TEMPERATURE CONTROL 170 F
> | 210762 | 17 | LOW OIL TEMPERATURE LIMIT 155F
> | 210763 | 17 | HI OIL TEMPERATURE LIMIT 220 F
> | 210764 | 22 | LOW OIL TEMP 2455RBV81170362
> | 210765 | 14 | NOZZLE TEMP 2455RBV81170363
> | 210930 | 66 | ACCESS DOOR LINER RA(D)350
| 211056 | 470 | BELT DR PUMP REPL KIT RA/D140
| 211057 | 470 | BELT DR PUMP REPL KIT 140 AB11
| 211058 | 454 | BELT DR PUMP REPL KIT RV225
| 211059 | 455 | BELT DR PUMP REPL KIT RD/D235
| 211060 | 455 | BELT DR PUMP REPL KIT 235 AB12
| 211061 | 455 | BELT DR PUMP REPL KIT RV325
| 211062 | 507 | BELT DR PUMP REPL KIT RA/D350
| 211063 | 460 | BELT DR PUMP REPL KIT 350 AB11
| 211064 | 491 | BELT DR PUMP REPL KIT RA/D500
| 211067 | 454 | BELT DR PUMP REPL KIT 235 AB11
| 211068 | 243 | BELT DR MTR/PUL ASSY 140 AB11
| 211069 | 243 | BELT DR MTR/PUL ASSY 235 AB11
| 211070 | 243 | BELT DR MTR/PUL ASSY RA/D235
| 211071 | 243 | BELT DR MTR/PUL ASSY 235 AB12
| 211072 | 244 | BELT DR MTR/PUL ASSY RV325
| 211073 | 247 | BELT DR MTR/PUL ASSY RA/D350
| 211074 | 247 | BELT DR MTR/PUL ASSY 350 AB12
| 211075 | 284 | BELT DR MTR/PUL ASSY RA/D500
| 215087 | 431 | BASE ASSEMBLY,RDH,AQ,AY3 (A)
| 215773 | 56 | TIME DELAY N12SV20 318783
| 216340 | 144 | IGN TRANS 120V #2289
| 216341 | 246 | MOTOR COMB 120V #2364U
| 217252 | 128 | PARTS BAG BELT DR KIT 140 AB11
| 217253 | 106 | PARTS BAG BELT DR KIT 235 AB
| 217254 | 104 | PARTS BAG BELT DR KIT RV325
| 217255 | 109 | PARTS BAG BELT DR KIT 350 AB11
| 217256 | 110 | PARTS BAG BELT DR KIT RA/D500
| 217257 | 499 | SAFGARD #SAF550SV 45-551
| 220311 | 3605 | REPLACEMENT BURNER KIT
> | 220615 | 181 | #2442 TRANSFORMER RW BECKETT
| 220627 | 400 | IGN TRANS/CONN ASSY RA500 120V
| 220628 | 320 | IGN TRANS/CONN ASSY RA500 230V
| 220661 | 51 | TURNING BOX COVER
| 220663 | 80 | EXHAUST BOX COVER
| 220674 | 163 | BOTTOM PANEL RA(D) 150
| 220675 | 171 | BOTTOM PANEL RA(D) 250
| 220731 | 30 | FRONT CORNER POST
| 220734 | 244 | TOP PANEL RA(D) 150
| 220735 | 171 | TOP PANEL-RA(D)250
| 220880 | 30 | INSULATION RETAINER SUPPORT
| 220882 | 78 | INSULATION RETAINER-RA(D)250
| 221042 | 619 | HEAT EXCH TUBE ASSY RA250
| 221048 | 139 | TURNING BOX DOOR ASSY 150/250
| 221049 | 2164 | COMB/HEAT EXCH CMPLT ASSY RA150
| 221050 | 2299 | COMB/HEAT EXCH CMPLT ASSY RA250
| 221052 | 72 | EXHAUST DOOR ASSY 150/250
| 221054 | 154 | FAN GUARD BOX ASSY-RA250
| 221056 | 110 | SERVICE TRAY 150/250
| 221058 | 296 | BOTTOM PANEL ASSY RA(D) 150
| 221059 | 321 | BOTTOM PANEL ASSY RA(D) 250
| 221060 | 10 | LOUVER RA(D) 250
| 221064 | 180 | FAN PANEL ASSY-RA(D)250
| 221214 | 36 | GASKET/ORIFICE/INSTRUCTION KIT
> | 221479 | 63 | TIME DELAY RELAY TOD RV325
| 222096 | N/A | REPLACED BY PN 255350
| 222946 | 48 | INNER PANEL RDH LX/LC
| 223127 | 25 | BURNER JUNCTION BOX, RA150/250
| 223128 | 14 | COVER, RA150/250
| 223668 | 13 | GASKET 1" x 0.125" x 12.13"
| 223669 | 14 | GASKET 1" x 0.125" x 23.75"
| 223670 | 13 | GASKET 1" x 0.125" x 9.06"
| 223671 | 13 | GASKET 1" x 0.125" x 19.75"
| 234644 | 34 | INSUL 1/2 X 25-13/32 x 33-11/32 IN
| 234867 | 51 | REMOTE PUMP PULLEY A6Z315DF037
| 234877 | 5 | NAMEPLATE - RA 350
| 234886 | 1332 | BELT DRIVE REMOTE PUMP ASSY 250
| 234887 | 1192 | BELT DRIVE REMOTE PUMP ASSY
| 254036 | 140 | CD1 VERT LOUVERS RA/D150
| 254037 | 153 | CD1 VERT LOUVERS RA/D250
| 255007 | 210 | DRAINPAN ASM - CW - DH - (A,C)
| 255297 | 925 | REPL SEC HEX ASSY RA(D) 150 ACC
| 255298 | 1007 | REPL SEC HEX ASSY RA(D) 250 ACC
| 258222 | 983 | AIR COMPR 71R142P001B0-D301X
| 258223 | 1208 | AIR COMPR REPL KIT RA(D)500
> | 269820 | 32 | ELECTRODE KIT #27192-02